## Slide 1
Ameer Effat M. Elfarash
Dept. of Genetics
Fac. of Agriculture, Assiut Univ.
amir_effat@yahoo.com
Setting up your Sequencing reaction

## Slide 2
The Sanger method
Uses dideoxy nucleotides to terminate DNA synthesis.
Because they lack the –OH, replication stops

## Slide 5
Capillary/ies
CCD Camera
Buffer
Laser

## Slide 6: Fluorescent Signal Detection
Laser
Energy
:
CCD
Electrophoresis
+
-
dye

## Slide 7
How do we go from this . . .
. . . To this?

## Slide 8
What to do before Loading the Reaction on the sequencer

## Slide 9
3. Purify PCR product
4. Set up and Perform sequencing reaction
6. Resolve sequence fragments
7. Read order of terminators (DNA sequence)
5. Purification PCR product
1. DNA isolation
2. PCR amplification of the target gene

## Slide 10: DNA Purification Overview
Most DNA extraction protocols consist of 3 parts
    Cell lysis
    Removing contaminating proteins, RNA, or macromolecules
    Recovery of the DNA

## Slide 11
Amplify the target Gene Using (PCR)

## Slide 12: Did your PCR work?

## Slide 13: PCR purification

## Slide 14
Preparation of Sequencing Reaction

## Slide 15
Big-dye sequencing kit (Applied Biosystems)
  20 µl reaction:
    4 .0 µl BigDye Terminator
    2 .0 µl Sequencing buffer
    3.2 µl Primer
    ??? µl Purified DNA
    ??? µl Deionized water
  Program:
    96 °C 1 min
    96 °C 10 sec
    50 °C 5 sec 25X
    60 °C 4 min

## Slide 16: Sequencing Reaction Purification
Centri - Sep Protocol
Elution with Formamide

## Slide 17
Loading the Reaction on the
310 ABI sequencer
Accuracy is approx 99%

## Slide 18
Instruments 310 / Capillary electrophoresis

## Slide 19
Capillary/ies
CCD Camera
Buffer
Laser
Capillary
Electrode
(Cathode)
Negatively-charged DNA enters the capillary as it migrates toward the postively-charged electrode (anode) at the other end of the capillary

## Slide 20
Data output
Data in electropherogram format shows peaks .abi file
Free software sequence scanner v1.0 (Life Tech).
Data in sequence file format shows text .seq file

## Slide 21: Factors Influencing PCR Success
Contamination
Cycle parameters
Primers

## Slide 22
  Sample preparation, reaction mixture assemblage should be performed in separate areas.
  A Laminar Flow Cabinet with a UV lamp is recommended for preparing the reaction mixture.
  New gloves should be used for DNA/RNA purification.
  The use of tips with filters for both sample and reaction mixture preparation
  Autoclaving of all buffers is recommended.
Avoiding Contamination

## Slide 23: Primers
Primer-dimers interferes with Sequencing
- The primer should not be self-complementary or complementary to any other primer in the reaction mixture, to prevent primer-dimers.

## Slide 24: Cycle parameters
Not optimized
Well optimized

## Slide 25: Troubleshooting
Contaminants such as excess salt, RNA or protein in your sample:
These cause the bands to be distorted and wide and the quality scores are low.
The software has problems calling the right bases.
A failed reaction:
There are many Ns called as the reaction has failed due to template and/or primer problems with high background noise observed. The software cannot call the correct bases.

## Slide 27: DNA Sequencing